## BTL 검증 결과
BACnet BTL 검증 결과 리포트
생성: 2026-06-24 09:04:17 ¦ 대상 장치: 192.168.1.3 ¦ DeviceID: 1001 ¦ 검증 장치: CDU
No. | 장치 | 장치번호 | 인스턴스 | 타입 | 기능명 | BACnet 객체명 패턴 | Read 결과 | Read 값 | Write 결과 | Property 확인 | 누락 프로퍼티 | SKIP/오류 사유 | 종합 결과
1 | CDU | 0 | 10009 | BI | Alarm Status | Alarm Status | – |  | – | – |  |  | SKIP
2 | CDU | 0 | 10121 | BI | Level Sensor 1 | Level Sensor 1 | – |  | – | – |  |  | SKIP
3 | CDU | 0 | 10122 | BI | Level Sensor 2 | Level Sensor 2 | – |  | – | – |  |  | SKIP
4 | CDU | 0 | 10123 | BI | Emergency Stop | Emergency Stop | – |  | – | – |  |  | SKIP
5 | CDU | 0 | 10124 | BI | ATS Signal1 | ATS Signal1 | – |  | – | – |  |  | SKIP
6 | CDU | 0 | 10125 | BI | ATS Signal2 | ATS Signal2 | – |  | – | – |  |  | SKIP
7 | CDU | 0 | 10126 | BI | Fire SW | Fire SW | – |  | – | – |  |  | SKIP
8 | CDU | 0 | 10127 | BI | Level Sensor3 High | Level Sensor3 High | – |  | – | – |  |  | SKIP
9 | CDU | 0 | 10128 | BI | Level Sensor4 High | Level Sensor4 High | – |  | – | – |  |  | SKIP
10 | CDU | 0 | 10129 | BI | UPS Alarm | UPS Alarm | – |  | – | – |  |  | SKIP
11 | CDU | 0 | 10130 | BI | UPS Buff | UPS Buff | – |  | – | – |  |  | SKIP
12 | CDU | 0 | 10131 | BI | UPS Off Grid | UPS Off Grid | – |  | – | – |  |  | SKIP
13 | CDU | 0 | 10132 | BI | Rear Fan Feedback | Rear Fan Feedback | – |  | – | – |  |  | SKIP
14 | CDU | 0 | 10133 | BI | Cbox Fan Feedback | Cbox Fan Feedback | – |  | – | – |  |  | SKIP
15 | CDU | 0 | 10134 | BI | Inverter Fan1 Feedback | Inverter Fan1 Feedback | – |  | – | – |  |  | SKIP
16 | CDU | 0 | 10135 | BI | Inverter Fan2 Feedback | Inverter Fan2 Feedback | – |  | – | – |  |  | SKIP
17 | CDU | 0 | 10136 | BI | Inverter Fan3 Feedback | Inverter Fan3 Feedback | – |  | – | – |  |  | SKIP
18 | CDU | 0 | 10181 | BI | fill pump | fill pump | – |  | – | – |  |  | SKIP
19 | CDU | 0 | 10182 | BI | rear fan | rear fan | – |  | – | – |  |  | SKIP
20 | CDU | 0 | 10183 | BI | inverter1 fan | inverter1 fan | – |  | – | – |  |  | SKIP
21 | CDU | 0 | 10184 | BI | inverter2 fan | inverter2 fan | – |  | – | – |  |  | SKIP
22 | CDU | 0 | 10185 | BI | inverter all fan | inverter all fan | – |  | – | – |  |  | SKIP
23 | CDU | 0 | 10186 | BI | fill pump2 | fill pump2 | – |  | – | – |  |  | SKIP
24 | CDU | 0 | 10187 | BI | cbox fan | cbox fan | – |  | – | – |  |  | SKIP
25 | CDU | 0 | 10553 | BI | CDUErrorState#CH01#T1Ia Temperature Sensor Check Required#CAUTION No.1201 | CDUErrorState#CH01#T1Ia Temperature Sensor Check Required#CAUTION No.1201 | – |  | – | – |  |  | SKIP
26 | CDU | 0 | 10554 | BI | CDUErrorState#CH02#T1Oa Temperature Sensor Check Required#CAUTION No.1202 | CDUErrorState#CH02#T1Oa Temperature Sensor Check Required#CAUTION No.1202 | – |  | – | – |  |  | SKIP
27 | CDU | 0 | 10555 | BI | CDUErrorState#CH03#T2Ia Temperature Sensor Check Required#CAUTION No.1203 | CDUErrorState#CH03#T2Ia Temperature Sensor Check Required#CAUTION No.1203 | – |  | – | – |  |  | SKIP
28 | CDU | 0 | 10556 | BI | CDUErrorState#CH04#T2Oa Temperature Sensor Check Required#CAUTION No.1204 | CDUErrorState#CH04#T2Oa Temperature Sensor Check Required#CAUTION No.1204 | – |  | – | – |  |  | SKIP
29 | CDU | 0 | 10557 | BI | CDUErrorState#CH05#T2Ob Temperature Sensor Check Required#CAUTION No.1205 | CDUErrorState#CH05#T2Ob Temperature Sensor Check Required#CAUTION No.1205 | – |  | – | – |  |  | SKIP
30 | CDU | 0 | 10558 | BI | CDUErrorState#CH06#T2Oc Temperature Sensor Check Required#CAUTION No.1206 | CDUErrorState#CH06#T2Oc Temperature Sensor Check Required#CAUTION No.1206 | – |  | – | – |  |  | SKIP
31 | CDU | 0 | 10559 | BI | CDUErrorState#CH07#T3a Temperature Sensor Check Required#CAUTION No.1207 | CDUErrorState#CH07#T3a Temperature Sensor Check Required#CAUTION No.1207 | – |  | – | – |  |  | SKIP
32 | CDU | 0 | 10560 | BI | CDUErrorState#CH08#T3b Temperature Sensor Check Required#CAUTION No.1208 | CDUErrorState#CH08#T3b Temperature Sensor Check Required#CAUTION No.1208 | – |  | – | – |  |  | SKIP
33 | CDU | 0 | 10561 | BI | CDUErrorState#CH09#RHa Humidity Sensor Check Required#CAUTION No.1209 | CDUErrorState#CH09#RHa Humidity Sensor Check Required#CAUTION No.1209 | – |  | – | – |  |  | SKIP
34 | CDU | 0 | 10562 | BI | CDUErrorState#CH10#RHb Humidity Sensor Check Required#CAUTION No.1210 | CDUErrorState#CH10#RHb Humidity Sensor Check Required#CAUTION No.1210 | – |  | – | – |  |  | SKIP
35 | CDU | 0 | 10563 | BI | CDUErrorState#CH11#P1Ia Pressure Sensor Check Required#CAUTION No.1211 | CDUErrorState#CH11#P1Ia Pressure Sensor Check Required#CAUTION No.1211 | – |  | – | – |  |  | SKIP
36 | CDU | 0 | 10564 | BI | CDUErrorState#CH12#P1f1 Pressure Sensor Check Required#CAUTION No.1212 | CDUErrorState#CH12#P1f1 Pressure Sensor Check Required#CAUTION No.1212 | – |  | – | – |  |  | SKIP
37 | CDU | 0 | 10565 | BI | CDUErrorState#CH13#P2Ia Pressure Sensor Check Required#CAUTION No.1213 | CDUErrorState#CH13#P2Ia Pressure Sensor Check Required#CAUTION No.1213 | – |  | – | – |  |  | SKIP
38 | CDU | 0 | 10566 | BI | CDUErrorState#CH14#P2Ib Pressure Sensor Check Required#CAUTION No.1214 | CDUErrorState#CH14#P2Ib Pressure Sensor Check Required#CAUTION No.1214 | – |  | – | – |  |  | SKIP
39 | CDU | 0 | 10567 | BI | CDUErrorState#CH15#P2Oa Pressure Sensor Check Required#CAUTION No.1215 | CDUErrorState#CH15#P2Oa Pressure Sensor Check Required#CAUTION No.1215 | – |  | – | – |  |  | SKIP
40 | CDU | 0 | 10568 | BI | CDUErrorState#CH16#P2f1 Pressure Sensor Check Required#CAUTION No.1216 | CDUErrorState#CH16#P2f1 Pressure Sensor Check Required#CAUTION No.1216 | – |  | – | – |  |  | SKIP
41 | CDU | 0 | 10569 | BI | CDUErrorState#CH17#P2f2 Pressure Sensor Check Required#CAUTION No.1217 | CDUErrorState#CH17#P2f2 Pressure Sensor Check Required#CAUTION No.1217 | – |  | – | – |  |  | SKIP
42 | CDU | 0 | 10570 | BI | CDUErrorState#CH18#2nd Flow Meter Sensor Inspection Required#WARNING No.1401 | CDUErrorState#CH18#2nd Flow Meter Sensor Inspection Required#WARNING No.1401 | – |  | – | – |  |  | SKIP
43 | CDU | 0 | 10571 | BI | CDUErrorState#CH19#1st Flow Meter Sensor Check Required#CAUTION No.1218 | CDUErrorState#CH19#1st Flow Meter Sensor Check Required#CAUTION No.1218 | – |  | – | – |  |  | SKIP
44 | CDU | 0 | 10572 | BI | CDUErrorState#CH20#MicroSD Card Check Required#CAUTION No.1351 | CDUErrorState#CH20#MicroSD Card Check Required#CAUTION No.1351 | – |  | – | – |  |  | SKIP
45 | CDU | 0 | 10573 | BI | CDUErrorState#CH21#Leak Defect/Coolant Low#WARNING No.1457 | CDUErrorState#CH21#Leak Defect/Coolant Low#WARNING No.1457 | – |  | – | – |  |  | SKIP
46 | CDU | 0 | 10574 | BI | CDUErrorState#CH22#Leak Shutdown/Coolant Shortage#URGENT No.1603 | CDUErrorState#CH22#Leak Shutdown/Coolant Shortage#URGENT No.1603 | – |  | – | – |  |  | SKIP
47 | CDU | 0 | 10575 | BI | CDUErrorState#CH23#P1 Inverter Inspection Required#WARNING No.1404 | CDUErrorState#CH23#P1 Inverter Inspection Required#WARNING No.1404 | – |  | – | – |  |  | SKIP
48 | CDU | 0 | 10576 | BI | CDUErrorState#CH24#P1 Inverter Low Flow#WARNING No.1405 | CDUErrorState#CH24#P1 Inverter Low Flow#WARNING No.1405 | – |  | – | – |  |  | SKIP
49 | CDU | 0 | 10577 | BI | CDUErrorState#CH25#P2 Inverter Inspection Required#WARNING No.1406 | CDUErrorState#CH25#P2 Inverter Inspection Required#WARNING No.1406 | – |  | – | – |  |  | SKIP
50 | CDU | 0 | 10578 | BI | CDUErrorState#CH26#P2 Inverter Low Flow#WARNING No.1407 | CDUErrorState#CH26#P2 Inverter Low Flow#WARNING No.1407 | – |  | – | – |  |  | SKIP
51 | CDU | 0 | 10579 | BI | CDUErrorState#CH27#Secondary Side Pump Shutdown#URGENT No.1601 | CDUErrorState#CH27#Secondary Side Pump Shutdown#URGENT No.1601 | – |  | – | – |  |  | SKIP
52 | CDU | 0 | 10580 | BI | CDUErrorState#CH28#Valve Inspection Required#WARNING No.1402 | CDUErrorState#CH28#Valve Inspection Required#WARNING No.1402 | – |  | – | – |  |  | SKIP
53 | CDU | 0 | 10581 | BI | CDUErrorState#CH29#Bypass Valve Inspection Required#WARNING No.1403 | CDUErrorState#CH29#Bypass Valve Inspection Required#WARNING No.1403 | – |  | – | – |  |  | SKIP
54 | CDU | 0 | 10582 | BI | CDUErrorState#CH30#Primary Side Water Low Level#WARNING No.1458 | CDUErrorState#CH30#Primary Side Water Low Level#WARNING No.1458 | – |  | – | – |  |  | SKIP
55 | CDU | 0 | 10583 | BI | CDUErrorState#CH31#Primary Side Filter Dirty#WARNING No.1451 | CDUErrorState#CH31#Primary Side Filter Dirty#WARNING No.1451 | – |  | – | – |  |  | SKIP
56 | CDU | 0 | 10584 | BI | CDUErrorState#CH32#Primary Side Water Too Cold#CAUTION No.1251 | CDUErrorState#CH32#Primary Side Water Too Cold#CAUTION No.1251 | – |  | – | – |  |  | SKIP
57 | CDU | 0 | 10585 | BI | CDUErrorState#CH33#Primary Side Water Too Hot#WARNING No.1452 | CDUErrorState#CH33#Primary Side Water Too Hot#WARNING No.1452 | – |  | – | – |  |  | SKIP
58 | CDU | 0 | 10586 | BI | CDUErrorState#CH34#Secondary Side Water Too Cold#WARNING No.1453 | CDUErrorState#CH34#Secondary Side Water Too Cold#WARNING No.1453 | – |  | – | – |  |  | SKIP
59 | CDU | 0 | 10587 | BI | CDUErrorState#CH35#Secondary Side Water Too Hot#WARNING No.1454 | CDUErrorState#CH35#Secondary Side Water Too Hot#WARNING No.1454 | – |  | – | – |  |  | SKIP
60 | CDU | 0 | 10588 | BI | CDUErrorState#CH36#Unit Water Overflow#URGENT No.1604 | CDUErrorState#CH36#Unit Water Overflow#URGENT No.1604 | – |  | – | – |  |  | SKIP
61 | CDU | 0 | 10589 | BI | CDUErrorState#CH37#Secondary Side Diff Pressure Out of Range#CAUTION No.1252 | CDUErrorState#CH37#Secondary Side Diff Pressure Out of Range#CAUTION No.1252 | – |  | – | – |  |  | SKIP
62 | CDU | 0 | 10590 | BI | CDUErrorState#CH38#CDU Emergency Power Transfer Required#CAUTION No.1352 | CDUErrorState#CH38#CDU Emergency Power Transfer Required#CAUTION No.1352 | – |  | – | – |  |  | SKIP
63 | CDU | 0 | 10591 | BI | CDUErrorState#CH39#Floor Water Overflow#URGENT No.1605 | CDUErrorState#CH39#Floor Water Overflow#URGENT No.1605 | – |  | – | – |  |  | SKIP
64 | CDU | 0 | 10592 | BI | CDUErrorState#CH40#Check Water Refill Level#WARNING No.1459 | CDUErrorState#CH40#Check Water Refill Level#WARNING No.1459 | – |  | – | – |  |  | SKIP
65 | CDU | 0 | 10593 | BI | CDUErrorState#CH41#System Low Pressure#WARNING No.1460 | CDUErrorState#CH41#System Low Pressure#WARNING No.1460 | – |  | – | – |  |  | SKIP
66 | CDU | 0 | 10594 | BI | CDUErrorState#CH42#Secondary Side Over Pressure#URGENT No.1602 | CDUErrorState#CH42#Secondary Side Over Pressure#URGENT No.1602 | – |  | – | – |  |  | SKIP
67 | CDU | 0 | 10595 | BI | CDUErrorState#CH43#No Water Flow on Primary Side#WARNING No.1461 | CDUErrorState#CH43#No Water Flow on Primary Side#WARNING No.1461 | – |  | – | – |  |  | SKIP
68 | CDU | 0 | 10596 | BI | CDUErrorState#CH44#Water Level Sensor - Detected No Water#WARNING No.1455 | CDUErrorState#CH44#Water Level Sensor - Detected No Water#WARNING No.1455 | – |  | – | – |  |  | SKIP
69 | CDU | 0 | 10597 | BI | CDUErrorState#CH45#Incorrect Water Sensor Status#WARNING No.1456 | CDUErrorState#CH45#Incorrect Water Sensor Status#WARNING No.1456 | – |  | – | – |  |  | SKIP
70 | CDU | 0 | 10598 | BI | CDUErrorState#CH46#Group Control Network Inspection Required#WARNING No.1552 | CDUErrorState#CH46#Group Control Network Inspection Required#WARNING No.1552 | – |  | – | – |  |  | SKIP
71 | CDU | 0 | 10599 | BI | CDUErrorState#CH47#Inverter 1 Communication Inspection Required#WARNING No.1553 | CDUErrorState#CH47#Inverter 1 Communication Inspection Required#WARNING No.1553 | – |  | – | – |  |  | SKIP
72 | CDU | 0 | 10600 | BI | CDUErrorState#CH48#Inverter 2 Communication Inspection Required#WARNING No.1554 | CDUErrorState#CH48#Inverter 2 Communication Inspection Required#WARNING No.1554 | – |  | – | – |  |  | SKIP
73 | CDU | 0 | 10601 | BI | CDUErrorState#CH49#Secondary Filter 1 Dirty#CAUTION No.1253 | CDUErrorState#CH49#Secondary Filter 1 Dirty#CAUTION No.1253 | – |  | – | – |  |  | SKIP
74 | CDU | 0 | 10602 | BI | CDUErrorState#CH50#Secondary Filter 2 Dirty#CAUTION No.1254 | CDUErrorState#CH50#Secondary Filter 2 Dirty#CAUTION No.1254 | – |  | – | – |  |  | SKIP
75 | CDU | 0 | 10603 | BI | CDUErrorState#CH51#Secondary Side Temp T2Oa Diff Check Required#CAUTION No.1255 | CDUErrorState#CH51#Secondary Side Temp T2Oa Diff Check Required#CAUTION No.1255 | – |  | – | – |  |  | SKIP
76 | CDU | 0 | 10604 | BI | CDUErrorState#CH52#Secondary Side Temp T2Ob Diff Check Required#CAUTION No.1256 | CDUErrorState#CH52#Secondary Side Temp T2Ob Diff Check Required#CAUTION No.1256 | – |  | – | – |  |  | SKIP
77 | CDU | 0 | 10605 | BI | CDUErrorState#CH53#Secondary Side Temp T2Oc Diff Check Required#CAUTION No.1257 | CDUErrorState#CH53#Secondary Side Temp T2Oc Diff Check Required#CAUTION No.1257 | – |  | – | – |  |  | SKIP
78 | CDU | 0 | 10606 | BI | CDUErrorState#CH54#Insufficient Units for Group Control#WARNING No.1551 | CDUErrorState#CH54#Insufficient Units for Group Control#WARNING No.1551 | – |  | – | – |  |  | SKIP
79 | CDU | 0 | 10607 | BI | CDUErrorState#CH55#Pump Performance Limited#CAUTION No.1258 | CDUErrorState#CH55#Pump Performance Limited#CAUTION No.1258 | – |  | – | – |  |  | SKIP
80 | CDU | 0 | 10608 | BI | CDUErrorState#CH56#Dew point Temp reference is not possible#URGENT No.1606 | CDUErrorState#CH56#Dew point Temp reference is not possible#URGENT No.1606 | – |  | – | – |  |  | SKIP
81 | CDU | 0 | 10609 | BI | CDUErrorState#CH57#Cooling valve control is not possible#URGENT No.1607 | CDUErrorState#CH57#Cooling valve control is not possible#URGENT No.1607 | – |  | – | – |  |  | SKIP
82 | CDU | 0 | 10610 | BI | CDUErrorState#CH58#Secondary overpress cannot be determined#URGENT No.1608 | CDUErrorState#CH58#Secondary overpress cannot be determined#URGENT No.1608 | – |  | – | – |  |  | SKIP
83 | CDU | 0 | 10611 | BI | CDUErrorState#CH59#Load response is not possible#URGENT No.1609 | CDUErrorState#CH59#Load response is not possible#URGENT No.1609 | – |  | – | – |  |  | SKIP
84 | CDU | 0 | 10612 | BI | CDUErrorState#CH60#Flow rate control is not possible#URGENT No.1610 | CDUErrorState#CH60#Flow rate control is not possible#URGENT No.1610 | – |  | – | – |  |  | SKIP
85 | CDU | 0 | 10613 | BI | CDUErrorState#CH61#UIO1 Module Comm Check Required#CAUTION No.1353 | CDUErrorState#CH61#UIO1 Module Comm Check Required#CAUTION No.1353 | – |  | – | – |  |  | SKIP
86 | CDU | 0 | 10614 | BI | CDUErrorState#CH62#UIO2 Module Comm Check Required#CAUTION No.1354 | CDUErrorState#CH62#UIO2 Module Comm Check Required#CAUTION No.1354 | – |  | – | – |  |  | SKIP
87 | CDU | 0 | 10615 | BI | CDUErrorState#CH63#UI1 Module Comm Check Required#CAUTION No.1355 | CDUErrorState#CH63#UI1 Module Comm Check Required#CAUTION No.1355 | – |  | – | – |  |  | SKIP
88 | CDU | 0 | 10616 | BI | CDUErrorState#CH64#UI2 Module Comm Check Required#CAUTION No.1356 | CDUErrorState#CH64#UI2 Module Comm Check Required#CAUTION No.1356 | – |  | – | – |  |  | SKIP
89 | CDU | 0 | 10617 | BI | CDUErrorState#CH65#NTC Module Comm Check Required#CAUTION No.1357 | CDUErrorState#CH65#NTC Module Comm Check Required#CAUTION No.1357 | – |  | – | – |  |  | SKIP
90 | CDU | 0 | 10618 | BI | CDUErrorState#CH66#Condensate Formation Caution#CAUTION No.1259 | CDUErrorState#CH66#Condensate Formation Caution#CAUTION No.1259 | – |  | – | – |  |  | SKIP
91 | CDU | 0 | 10619 | BI | CDUErrorState#CH67#P3 Inverter Inspection Required#WARNING No.1408 | CDUErrorState#CH67#P3 Inverter Inspection Required#WARNING No.1408 | – |  | – | – |  |  | SKIP
92 | CDU | 0 | 10620 | BI | CDUErrorState#CH68#P3 Inverter Low Flow#WARNING No.1409 | CDUErrorState#CH68#P3 Inverter Low Flow#WARNING No.1409 | – |  | – | – |  |  | SKIP
93 | CDU | 0 | 10621 | BI | CDUErrorState#CH69#Inverter 3 Communication Inspection Required#WARNING No.1555 | CDUErrorState#CH69#Inverter 3 Communication Inspection Required#WARNING No.1555 | – |  | – | – |  |  | SKIP
94 | CDU | 0 | 10622 | BI | CDUErrorState#CH70#AIO Module Comm Check Required#CAUTION No.1358 | CDUErrorState#CH70#AIO Module Comm Check Required#CAUTION No.1358 | – |  | – | – |  |  | SKIP
95 | CDU | 0 | 10623 | BI | CDUErrorState#CH71#IF Module Comm Check Required#CAUTION No.1359 | CDUErrorState#CH71#IF Module Comm Check Required#CAUTION No.1359 | – |  | – | – |  |  | SKIP
96 | CDU | 0 | 10624 | BI | CDUErrorState#CH72#Ext Module Comm Check Required#CAUTION No.1360 | CDUErrorState#CH72#Ext Module Comm Check Required#CAUTION No.1360 | – |  | – | – |  |  | SKIP
97 | CDU | 0 | 10625 | BI | CDUErrorState#CH73#P2f3 Pressure Sensor Check Required#CAUTION No.1219 | CDUErrorState#CH73#P2f3 Pressure Sensor Check Required#CAUTION No.1219 | – |  | – | – |  |  | SKIP
98 | CDU | 0 | 10626 | BI | CDUErrorState#CH74#Secondary Filter 3 Dirty#CAUTION No.1260 | CDUErrorState#CH74#Secondary Filter 3 Dirty#CAUTION No.1260 | – |  | – | – |  |  | SKIP
99 | CDU | 0 | 10627 | BI | CDUErrorState#CH75#P2Ob Temperature Sensor Check Required#CAUTION No.1220 | CDUErrorState#CH75#P2Ob Temperature Sensor Check Required#CAUTION No.1220 | – |  | – | – |  |  | SKIP
100 | CDU | 0 | 10628 | BI | CDUErrorState#CH76#Secondary Side Inlet Water Too Hot#CAUTION No.1261 | CDUErrorState#CH76#Secondary Side Inlet Water Too Hot#CAUTION No.1261 | – |  | – | – |  |  | SKIP
101 | CDU | 0 | 10629 | BI | CDUErrorState#CH77#P1Oa Pressure Sensor Check Required#CAUTION No.1221 | CDUErrorState#CH77#P1Oa Pressure Sensor Check Required#CAUTION No.1221 | – |  | – | – |  |  | SKIP
102 | CDU | 0 | 10630 | BI | CDUErrorState#CH78#P2Sa Pressure Sensor Check Required#CAUTION No.1222 | CDUErrorState#CH78#P2Sa Pressure Sensor Check Required#CAUTION No.1222 | – |  | – | – |  |  | SKIP
103 | CDU | 0 | 10631 | BI | CDUErrorState#CH79#T2Ib Temperature Sensor Check Required#CAUTION No.1223 | CDUErrorState#CH79#T2Ib Temperature Sensor Check Required#CAUTION No.1223 | – |  | – | – |  |  | SKIP
104 | CDU | 0 | 10632 | BI | CDUErrorState#CH80#Primary Side Over Pressure#CAUTION No.1262 | CDUErrorState#CH80#Primary Side Over Pressure#CAUTION No.1262 | – |  | – | – |  |  | SKIP
105 | CDU | 0 | 10633 | BI | CDUErrorState#CH81#CDU Blackout Check Required#CAUTION No.1611 | CDUErrorState#CH81#CDU Blackout Check Required#CAUTION No.1611 | – |  | – | – |  |  | SKIP
106 | CDU | 0 | 10634 | BI | CDUErrorState#CH82#Inverter1 Fan Check Required#CAUTION No.1362 | CDUErrorState#CH82#Inverter1 Fan Check Required#CAUTION No.1362 | – |  | – | – |  |  | SKIP
107 | CDU | 0 | 10635 | BI | CDUErrorState#CH83#Inverter2 Fan Check Required#CAUTION No.1363 | CDUErrorState#CH83#Inverter2 Fan Check Required#CAUTION No.1363 | – |  | – | – |  |  | SKIP
108 | CDU | 0 | 10636 | BI | CDUErrorState#CH84#Inverter3 Fan Check Required#CAUTION No.1364 | CDUErrorState#CH84#Inverter3 Fan Check Required#CAUTION No.1364 | – |  | – | – |  |  | SKIP
109 | CDU | 0 | 10637 | BI | CDUErrorState#CH85#Rear Fan Check Required#CAUTION No.1365 | CDUErrorState#CH85#Rear Fan Check Required#CAUTION No.1365 | – |  | – | – |  |  | SKIP
110 | CDU | 0 | 10638 | BI | CDUErrorState#CH86#CBox Fan Check Required#CAUTION No.1366 | CDUErrorState#CH86#CBox Fan Check Required#CAUTION No.1366 | – |  | – | – |  |  | SKIP
111 | CDU | 0 | 10639 | BI | CDUErrorState#CH87#Secondary Side Outlet Diff Pressure Out of Range#CAUTION No.1263 | CDUErrorState#CH87#Secondary Side Outlet Diff Pressure Out of Range#CAUTION No.1263 | – |  | – | – |  |  | SKIP
112 | CDU | 0 | 10640 | BI | CDUErrorState#CH88#Secondary Side Inlet Diff Temperature Out of Range#CAUTION No.1264 | CDUErrorState#CH88#Secondary Side Inlet Diff Temperature Out of Range#CAUTION No.1264 | – |  | – | – |  |  | SKIP
113 | CDU | 0 | 10641 | BI | CDUErrorState#CH89#Ext2 Module Comm Check Required#CAUTION No.1367 | CDUErrorState#CH89#Ext2 Module Comm Check Required#CAUTION No.1367 | – |  | – | – |  |  | SKIP
114 | CDU | 0 | 10642 | BI | CDUErrorState#CH90#Fire Switch Shutdown#URGENT No.1612 | CDUErrorState#CH90#Fire Switch Shutdown#URGENT No.1612 | – |  | – | – |  |  | SKIP
115 | CDU | 0 | 10643 | BI | CDUErrorState#CH91#Emergency Stop#URGENT No.1613 | CDUErrorState#CH91#Emergency Stop#URGENT No.1613 | – |  | – | – |  |  | SKIP
116 | CDU | 0 | 30001 | AI | CDU Type | CDU Type | – |  | – | – |  |  | SKIP
117 | CDU | 0 | 30002 | AI | Main SW Part No. High | Main SW Part No. High | – |  | – | – |  |  | SKIP
118 | CDU | 0 | 30003 | AI | Main SW Part No. Low | Main SW Part No. Low | – |  | – | – |  |  | SKIP
119 | CDU | 0 | 30004 | AI | INVERTER 1 SW Part No. High | INVERTER 1 SW Part No. High | – |  | – | – |  |  | SKIP
120 | CDU | 0 | 30005 | AI | INVERTER 1 SW Part No. Low | INVERTER 1 SW Part No. Low | – |  | – | – |  |  | SKIP
121 | CDU | 0 | 30006 | AI | INVERTER 1 EEPROM SW Part No. High | INVERTER 1 EEPROM SW Part No. High | – |  | – | – |  |  | SKIP
122 | CDU | 0 | 30007 | AI | INVERTER 1 EEPROM SW Part No. Low | INVERTER 1 EEPROM SW Part No. Low | – |  | – | – |  |  | SKIP
123 | CDU | 0 | 30008 | AI | INVERTER 2 SW Part No. High | INVERTER 2 SW Part No. High | – |  | – | – |  |  | SKIP
124 | CDU | 0 | 30009 | AI | INVERTER 2 SW Part No. Low | INVERTER 2 SW Part No. Low | – |  | – | – |  |  | SKIP
125 | CDU | 0 | 30010 | AI | INVERTER 2 EEPROM SW Part No. High | INVERTER 2 EEPROM SW Part No. High | – |  | – | – |  |  | SKIP
126 | CDU | 0 | 30011 | AI | INVERTER 2 EEPROM SW Part No. Low | INVERTER 2 EEPROM SW Part No. Low | – |  | – | – |  |  | SKIP
127 | CDU | 0 | 30012 | AI | INVERTER 3 SW Part No. High | INVERTER 3 SW Part No. High | – |  | – | – |  |  | SKIP
128 | CDU | 0 | 30013 | AI | INVERTER 3 SW Part No. Low | INVERTER 3 SW Part No. Low | – |  | – | – |  |  | SKIP
129 | CDU | 0 | 30014 | AI | INVERTER 3 EEPROM SW Part No. High | INVERTER 3 EEPROM SW Part No. High | – |  | – | – |  |  | SKIP
130 | CDU | 0 | 30015 | AI | INVERTER 3 EEPROM SW Part No. Low | INVERTER 3 EEPROM SW Part No. Low | – |  | – | – |  |  | SKIP
131 | CDU | 0 | 30016 | AI | AIO1 SW Part No. High | AIO1 SW Part No. High | – |  | – | – |  |  | SKIP
132 | CDU | 0 | 30017 | AI | AIO1 SW Part No. Low | AIO1 SW Part No. Low | – |  | – | – |  |  | SKIP
133 | CDU | 0 | 30018 | AI | AIO2 SW Part No. High | AIO2 SW Part No. High | – |  | – | – |  |  | SKIP
134 | CDU | 0 | 30019 | AI | AIO2 SW Part No. Low | AIO2 SW Part No. Low | – |  | – | – |  |  | SKIP
135 | CDU | 0 | 30020 | AI | IF1 SW Part No. High | IF1 SW Part No. High | – |  | – | – |  |  | SKIP
136 | CDU | 0 | 30021 | AI | IF1 SW Part No. Low | IF1 SW Part No. Low | – |  | – | – |  |  | SKIP
137 | CDU | 0 | 30031 | AI | Oper. Status | Oper. Status | – |  | – | – |  |  | SKIP
138 | CDU | 0 | 30032 | AI | Warning message | Warning message | – |  | – | – |  |  | SKIP
139 | CDU | 0 | 30033 | AI | Anomaly message | Anomaly message | – |  | – | – |  |  | SKIP
140 | CDU | 0 | 30034 | AI | Preventive control message | Preventive control message | – |  | – | – |  |  | SKIP
141 | CDU | 0 | 30035 | AI | Anomaly message level | Anomaly message level | – |  | – | – |  |  | SKIP
142 | CDU | 0 | 30036 | AI | Anomaly occurrence value | Anomaly occurrence value | – |  | – | – |  |  | SKIP
143 | CDU | 0 | 30037 | AI | Caution message | Caution message | – |  | – | – |  |  | SKIP
144 | CDU | 0 | 30038 | AI | Common anomaly message | Common anomaly message | – |  | – | – |  |  | SKIP
145 | CDU | 0 | 30039 | AI | Common alarm message | Common alarm message | – |  | – | – |  |  | SKIP
146 | CDU | 0 | 30040 | AI | Anomaly count | Anomaly count | – |  | – | – |  |  | SKIP
147 | CDU | 0 | 30041 | AI | CDU Event Severity | CDU Event Severity | – |  | – | – |  |  | SKIP
148 | CDU | 0 | 30042 | AI | Inverter V/F Error Flag | Inverter V/F Error Flag | – |  | – | – |  |  | SKIP
149 | CDU | 0 | 30061 | AI | Error state 1 | Error state 1 | – |  | – | – |  |  | SKIP
150 | CDU | 0 | 30062 | AI | Error state 2 | Error state 2 | – |  | – | – |  |  | SKIP
151 | CDU | 0 | 30063 | AI | Error state 3 | Error state 3 | – |  | – | – |  |  | SKIP
152 | CDU | 0 | 30064 | AI | Error state 4 | Error state 4 | – |  | – | – |  |  | SKIP
153 | CDU | 0 | 30065 | AI | Error state 5 | Error state 5 | – |  | – | – |  |  | SKIP
154 | CDU | 0 | 30066 | AI | Error state 6 | Error state 6 | – |  | – | – |  |  | SKIP
155 | CDU | 0 | 30067 | AI | Error state 7 | Error state 7 | – |  | – | – |  |  | SKIP
156 | CDU | 0 | 30068 | AI | Error state 8 | Error state 8 | – |  | – | – |  |  | SKIP
157 | CDU | 0 | 30069 | AI | Error state 9 | Error state 9 | – |  | – | – |  |  | SKIP
158 | CDU | 0 | 30070 | AI | Error state 10 | Error state 10 | – |  | – | – |  |  | SKIP
159 | CDU | 0 | 30081 | AI | Prim. Filter Press P1Ia-P1f1 | Prim. Filter Press P1Ia-P1f1 | – |  | – | – |  |  | SKIP
160 | CDU | 0 | 30082 | AI | Sec. Filter1 Press P2f1-P2O | Sec. Filter1 Press P2f1-P2O | – |  | – | – |  |  | SKIP
161 | CDU | 0 | 30083 | AI | Sec. Filter2 Press P2f2-P2O | Sec. Filter2 Press P2f2-P2O | – |  | – | – |  |  | SKIP
162 | CDU | 0 | 30084 | AI | Sec. Outlet Temp T2O | Sec. Outlet Temp T2O | – |  | – | – |  |  | SKIP
163 | CDU | 0 | 30085 | AI | Sec. Inlet Press P2I | Sec. Inlet Press P2I | – |  | – | – |  |  | SKIP
164 | CDU | 0 | 30086 | AI | Sec. Diff Press P2O-P2I | Sec. Diff Press P2O-P2I | – |  | – | – |  |  | SKIP
165 | CDU | 0 | 30087 | AI | Dewpoint Dwa | Dewpoint Dwa | – |  | – | – |  |  | SKIP
166 | CDU | 0 | 30088 | AI | Dewpoint Dwb | Dewpoint Dwb | – |  | – | – |  |  | SKIP
167 | CDU | 0 | 30089 | AI | Dewpoint Dwab | Dewpoint Dwab | – |  | – | – |  |  | SKIP
168 | CDU | 0 | 30090 | AI | Room Temp T3ab | Room Temp T3ab | – |  | – | – |  |  | SKIP
169 | CDU | 0 | 30091 | AI | Room Rhab | Room Rhab | – |  | – | – |  |  | SKIP
170 | CDU | 0 | 30092 | AI | Sec. Target Temp Feedback | Sec. Target Temp Feedback | – |  | – | – |  |  | SKIP
171 | CDU | 0 | 30093 | AI | Sec. Diff Temp T2I-T2O | Sec. Diff Temp T2I-T2O | – |  | – | – |  |  | SKIP
172 | CDU | 0 | 30094 | AI | Sec. Filter3 Press P2f3-P2O | Sec. Filter3 Press P2f3-P2O | – |  | – | – |  |  | SKIP
173 | CDU | 0 | 30095 | AI | Sec. Outlet Press P2O | Sec. Outlet Press P2O | – |  | – | – |  |  | SKIP
174 | CDU | 0 | 30096 | AI | Cooling Capacity | Cooling Capacity | – |  | – | – |  |  | SKIP
175 | CDU | 0 | 30097 | AI | Pump Ctrl Mode Feedback | Pump Ctrl Mode Feedback | – |  | – | – |  |  | SKIP
176 | CDU | 0 | 30098 | AI | Sec. Inlet Temp T2I | Sec. Inlet Temp T2I | – |  | – | – |  |  | SKIP
177 | CDU | 0 | 30099 | AI | Prim Diff Press P1I-P1O | Prim Diff Press P1I-P1O | – |  | – | – |  |  | SKIP
178 | CDU | 0 | 30141 | AI | Group Avg Press | Group Avg Press | – |  | – | – |  |  | SKIP
179 | CDU | 0 | 30142 | AI | Group All Flow | Group All Flow | – |  | – | – |  |  | SKIP
180 | CDU | 0 | 30143 | AI | Group Operation Command (Master) | Group Operation Command (Master) | – |  | – | – |  |  | SKIP
181 | CDU | 0 | 30144 | AI | Group Available CDU (Master) | Group Available CDU (Master) | – |  | – | – |  |  | SKIP
182 | CDU | 0 | 30145 | AI | Group Oper. Status | Group Oper. Status | – |  | – | – |  |  | SKIP
183 | CDU | 0 | 30146 | AI | Number of Group Operating CDUs | Number of Group Operating CDUs | – |  | – | – |  |  | SKIP
184 | CDU | 0 | 30147 | AI | Group Average Outlet Temp | Group Average Outlet Temp | – |  | – | – |  |  | SKIP
185 | CDU | 0 | 30148 | AI | Group Average Fow | Group Average Fow | – |  | – | – |  |  | SKIP
186 | CDU | 0 | 30149 | AI | Group Average Delta T | Group Average Delta T | – |  | – | – |  |  | SKIP
187 | CDU | 0 | 30150 | AI | Group Average Pump Speed | Group Average Pump Speed | – |  | – | – |  |  | SKIP
188 | CDU | 0 | 30151 | AI | Group Average CoolValve | Group Average CoolValve | – |  | – | – |  |  | SKIP
189 | CDU | 0 | 30152 | AI | Group Maximum Pump Speed | Group Maximum Pump Speed | – |  | – | – |  |  | SKIP
190 | CDU | 0 | 30201 | AI | Sec. Inlet Press P2Ia | Sec. Inlet Press P2Ia | – |  | – | – |  |  | SKIP
191 | CDU | 0 | 30202 | AI | Sec. Inlet Press P2Ib | Sec. Inlet Press P2Ib | – |  | – | – |  |  | SKIP
192 | CDU | 0 | 30203 | AI | Sec. Outlet Press P2Oa | Sec. Outlet Press P2Oa | – |  | – | – |  |  | SKIP
193 | CDU | 0 | 30204 | AI | Prim. Inlet Press P1Ia | Prim. Inlet Press P1Ia | – |  | – | – |  |  | SKIP
194 | CDU | 0 | 30205 | AI | Prim. Filter Outlet Press P1f1 | Prim. Filter Outlet Press P1f1 | – |  | – | – |  |  | SKIP
195 | CDU | 0 | 30206 | AI | Sec. Filter1 Inlet Press P2f1 | Sec. Filter1 Inlet Press P2f1 | – |  | – | – |  |  | SKIP
196 | CDU | 0 | 30207 | AI | Sec. Filter2 Inlet Press P2f2 | Sec. Filter2 Inlet Press P2f2 | – |  | – | – |  |  | SKIP
197 | CDU | 0 | 30208 | AI | Prim. Flow F1 | Prim. Flow F1 | – |  | – | – |  |  | SKIP
198 | CDU | 0 | 30209 | AI | Sec. Flow F2 | Sec. Flow F2 | – |  | – | – |  |  | SKIP
199 | CDU | 0 | 30210 | AI | Room Rha | Room Rha | – |  | – | – |  |  | SKIP
200 | CDU | 0 | 30211 | AI | Room Rhb | Room Rhb | – |  | – | – |  |  | SKIP
201 | CDU | 0 | 30212 | AI | Cooling Valve Feedback | Cooling Valve Feedback | – |  | – | – |  |  | SKIP
202 | CDU | 0 | 30213 | AI | Cooling Bypass Feedback | Cooling Bypass Feedback | – |  | – | – |  |  | SKIP
203 | CDU | 0 | 30214 | AI | Room Temp T3a | Room Temp T3a | – |  | – | – |  |  | SKIP
204 | CDU | 0 | 30215 | AI | Room Temp T3b | Room Temp T3b | – |  | – | – |  |  | SKIP
205 | CDU | 0 | 30216 | AI | Prim. Inlet Temp T1Ia | Prim. Inlet Temp T1Ia | – |  | – | – |  |  | SKIP
206 | CDU | 0 | 30217 | AI | Prim. Outlet Temp T1Oa | Prim. Outlet Temp T1Oa | – |  | – | – |  |  | SKIP
207 | CDU | 0 | 30218 | AI | Sec. Inlet Temp T2Ia | Sec. Inlet Temp T2Ia | – |  | – | – |  |  | SKIP
208 | CDU | 0 | 30219 | AI | Sec. Outlet Temp T2Oa | Sec. Outlet Temp T2Oa | – |  | – | – |  |  | SKIP
209 | CDU | 0 | 30220 | AI | Sec. Outlet Temp T2Ob | Sec. Outlet Temp T2Ob | – |  | – | – |  |  | SKIP
210 | CDU | 0 | 30221 | AI | Sec. Outlet Temp T2Oc | Sec. Outlet Temp T2Oc | – |  | – | – |  |  | SKIP
211 | CDU | 0 | 30222 | AI | Leak Sensor1 | Leak Sensor1 | – |  | – | – |  |  | SKIP
212 | CDU | 0 | 30223 | AI | Leak Sensor2 | Leak Sensor2 | – |  | – | – |  |  | SKIP
213 | CDU | 0 | 30224 | AI | Sec. Filter3 Inlet Press P2f3 | Sec. Filter3 Inlet Press P2f3 | – |  | – | – |  |  | SKIP
214 | CDU | 0 | 30225 | AI | Sec. Outlet Press P2Ob | Sec. Outlet Press P2Ob | – |  | – | – |  |  | SKIP
215 | CDU | 0 | 30226 | AI | Prim. Outlet Press P1Oa | Prim. Outlet Press P1Oa | – |  | – | – |  |  | SKIP
216 | CDU | 0 | 30227 | AI | Sec. Suction Press P2Sa | Sec. Suction Press P2Sa | – |  | – | – |  |  | SKIP
217 | CDU | 0 | 30228 | AI | Prim. Inlet Temp T1Ib | Prim. Inlet Temp T1Ib | – |  | – | – |  |  | SKIP
218 | CDU | 0 | 30271 | AI | Virtual Sec. Flow F2 | Virtual Sec. Flow F2 | – |  | – | – |  |  | SKIP
219 | CDU | 0 | 30272 | AI | Virtual Sec. Inlet Temp T2a | Virtual Sec. Inlet Temp T2a | – |  | – | – |  |  | SKIP
220 | CDU | 0 | 30273 | AI | Virtual Sec. Outlet Press P2c | Virtual Sec. Outlet Press P2c | – |  | – | – |  |  | SKIP
221 | CDU | 0 | 30274 | AI | Virtual Prim. Inlet Temp T1a | Virtual Prim. Inlet Temp T1a | – |  | – | – |  |  | SKIP
222 | CDU | 0 | 30311 | AI | Num of Operating Pumps | Num of Operating Pumps | – |  | – | – |  |  | SKIP
223 | CDU | 0 | 30312 | AI | Total Runtime of Pumps | Total Runtime of Pumps | – |  | – | – |  |  | SKIP
224 | CDU | 0 | 30313 | AI | Pump1 Speed | Pump1 Speed | – |  | – | – |  |  | SKIP
225 | CDU | 0 | 30314 | AI | Pump1 Comm. | Pump1 Comm. | – |  | – | – |  |  | SKIP
226 | CDU | 0 | 30315 | AI | Pump1 Mode | Pump1 Mode | – |  | – | – |  |  | SKIP
227 | CDU | 0 | 30316 | AI | Pump1 Frequency | Pump1 Frequency | – |  | – | – |  |  | SKIP
228 | CDU | 0 | 30317 | AI | Pump1 Voltage | Pump1 Voltage | – |  | – | – |  |  | SKIP
229 | CDU | 0 | 30318 | AI | Pump1 Current | Pump1 Current | – |  | – | – |  |  | SKIP
230 | CDU | 0 | 30319 | AI | Pump1 Power | Pump1 Power | – |  | – | – |  |  | SKIP
231 | CDU | 0 | 30320 | AI | Pump1 HeatSink Temp | Pump1 HeatSink Temp | – |  | – | – |  |  | SKIP
232 | CDU | 0 | 30321 | AI | Pump1 Version | Pump1 Version | – |  | – | – |  |  | SKIP
233 | CDU | 0 | 30322 | AI | Pump1 Stop Code | Pump1 Stop Code | – |  | – | – |  |  | SKIP
234 | CDU | 0 | 30323 | AI | Pump1 Error Code | Pump1 Error Code | – |  | – | – |  |  | SKIP
235 | CDU | 0 | 30324 | AI | Pump2 Speed | Pump2 Speed | – |  | – | – |  |  | SKIP
236 | CDU | 0 | 30325 | AI | Pump2 Comm. | Pump2 Comm. | – |  | – | – |  |  | SKIP
237 | CDU | 0 | 30326 | AI | Pump2 Mode | Pump2 Mode | – |  | – | – |  |  | SKIP
238 | CDU | 0 | 30327 | AI | Pump2 Frequency | Pump2 Frequency | – |  | – | – |  |  | SKIP
239 | CDU | 0 | 30328 | AI | Pump2 Voltage | Pump2 Voltage | – |  | – | – |  |  | SKIP
240 | CDU | 0 | 30329 | AI | Pump2 Current | Pump2 Current | – |  | – | – |  |  | SKIP
241 | CDU | 0 | 30330 | AI | Pump2 Power | Pump2 Power | – |  | – | – |  |  | SKIP
242 | CDU | 0 | 30331 | AI | Pump2 HeatSink Temp | Pump2 HeatSink Temp | – |  | – | – |  |  | SKIP
243 | CDU | 0 | 30332 | AI | Pump2 Version | Pump2 Version | – |  | – | – |  |  | SKIP
244 | CDU | 0 | 30333 | AI | Pump2 Stop Code | Pump2 Stop Code | – |  | – | – |  |  | SKIP
245 | CDU | 0 | 30334 | AI | Pump2 Error Code | Pump2 Error Code | – |  | – | – |  |  | SKIP
246 | CDU | 0 | 30335 | AI | Pump3 Speed | Pump3 Speed | – |  | – | – |  |  | SKIP
247 | CDU | 0 | 30336 | AI | Pump3 Comm. | Pump3 Comm. | – |  | – | – |  |  | SKIP
248 | CDU | 0 | 30337 | AI | Pump3 Mode | Pump3 Mode | – |  | – | – |  |  | SKIP
249 | CDU | 0 | 30338 | AI | Pump3 Frequency | Pump3 Frequency | – |  | – | – |  |  | SKIP
250 | CDU | 0 | 30339 | AI | Pump3 Voltage | Pump3 Voltage | – |  | – | – |  |  | SKIP
251 | CDU | 0 | 30340 | AI | Pump3 Current | Pump3 Current | – |  | – | – |  |  | SKIP
252 | CDU | 0 | 30341 | AI | Pump3 Power | Pump3 Power | – |  | – | – |  |  | SKIP
253 | CDU | 0 | 30342 | AI | Pump3 HeatSink Temp | Pump3 HeatSink Temp | – |  | – | – |  |  | SKIP
254 | CDU | 0 | 30343 | AI | Pump3 Version | Pump3 Version | – |  | – | – |  |  | SKIP
255 | CDU | 0 | 30344 | AI | Pump3 Stop Code | Pump3 Stop Code | – |  | – | – |  |  | SKIP
256 | CDU | 0 | 30345 | AI | Pump3 Error Code | Pump3 Error Code | – |  | – | – |  |  | SKIP
257 | CDU | 0 | 30381 | AI | Pump1 Inverter Demand | Pump1 Inverter Demand | – |  | – | – |  |  | SKIP
258 | CDU | 0 | 30382 | AI | Pump2 Inverter Demand | Pump2 Inverter Demand | – |  | – | – |  |  | SKIP
259 | CDU | 0 | 30383 | AI | Pump3 Inverter Demand | Pump3 Inverter Demand | – |  | – | – |  |  | SKIP
260 | CDU | 0 | 30390 | AI | Pump1 count | Pump1 count | – |  | – | – |  |  | SKIP
261 | CDU | 0 | 30391 | AI | Pump1 Time1 | Pump1 Time1 | – |  | – | – |  |  | SKIP
262 | CDU | 0 | 30392 | AI | Pump1 Time2 | Pump1 Time2 | – |  | – | – |  |  | SKIP
263 | CDU | 0 | 30393 | AI | Pump2 count | Pump2 count | – |  | – | – |  |  | SKIP
264 | CDU | 0 | 30394 | AI | Pump2 Time1 | Pump2 Time1 | – |  | – | – |  |  | SKIP
265 | CDU | 0 | 30395 | AI | Pump2 Time2 | Pump2 Time2 | – |  | – | – |  |  | SKIP
266 | CDU | 0 | 30396 | AI | Pump3 count | Pump3 count | – |  | – | – |  |  | SKIP
267 | CDU | 0 | 30397 | AI | Pump3 Time1 | Pump3 Time1 | – |  | – | – |  |  | SKIP
268 | CDU | 0 | 30398 | AI | Pump3 Time2 | Pump3 Time2 | – |  | – | – |  |  | SKIP
269 | CDU | 0 | 30401 | AI | Uart1 ACU UIO1 communication success rate | Uart1 ACU UIO1 communication success rate | – |  | – | – |  |  | SKIP
270 | CDU | 0 | 30402 | AI | Uart1 ACU UIO2 communication success rate | Uart1 ACU UIO2 communication success rate | – |  | – | – |  |  | SKIP
271 | CDU | 0 | 30403 | AI | Uart1 ACU UI1 communication success rate | Uart1 ACU UI1 communication success rate | – |  | – | – |  |  | SKIP
272 | CDU | 0 | 30404 | AI | Uart1 ACU UI2 communication success rate | Uart1 ACU UI2 communication success rate | – |  | – | – |  |  | SKIP
273 | CDU | 0 | 30405 | AI | Uart1 ACU NTC communication success rate | Uart1 ACU NTC communication success rate | – |  | – | – |  |  | SKIP
274 | CDU | 0 | 30406 | AI | Uart1 AIO1 communication success rate | Uart1 AIO1 communication success rate | – |  | – | – |  |  | SKIP
275 | CDU | 0 | 30407 | AI | Uart1 IF1 communication success rate | Uart1 IF1 communication success rate | – |  | – | – |  |  | SKIP
276 | CDU | 0 | 30408 | AI | Uart2 Inverter 1 communication success rate | Uart2 Inverter 1 communication success rate | – |  | – | – |  |  | SKIP
277 | CDU | 0 | 30409 | AI | Uart2 Inverter 2 communication success rate | Uart2 Inverter 2 communication success rate | – |  | – | – |  |  | SKIP
278 | CDU | 0 | 30410 | AI | Uart2 Inverter 3 communication success rate | Uart2 Inverter 3 communication success rate | – |  | – | – |  |  | SKIP
279 | CDU | 0 | 30411 | AI | Uart3 group communication success rate | Uart3 group communication success rate | – |  | – | – |  |  | SKIP
280 | CDU | 0 | 30421 | AI | CDU Group Setting State (CDU1) | CDU Group Setting State (CDU1) | – |  | – | – |  |  | SKIP
281 | CDU | 0 | 30422 | AI | CDU ID (CDU1) | CDU ID (CDU1) | – |  | – | – |  |  | SKIP
282 | CDU | 0 | 30423 | AI | Operating Status (CDU1) | Operating Status (CDU1) | – |  | – | – |  |  | SKIP
283 | CDU | 0 | 30424 | AI | DP (CDU1) | DP (CDU1) | – |  | – | – |  |  | SKIP
284 | CDU | 0 | 30425 | AI | Sec. Flow (CDU1) | Sec. Flow (CDU1) | – |  | – | – |  |  | SKIP
285 | CDU | 0 | 30426 | AI | Pump Speed (CDU1) | Pump Speed (CDU1) | – |  | – | – |  |  | SKIP
286 | CDU | 0 | 30427 | AI | Sec. Temp (CDU1) | Sec. Temp (CDU1) | – |  | – | – |  |  | SKIP
287 | CDU | 0 | 30428 | AI | CoolValve (CDU1) | CoolValve (CDU1) | – |  | – | – |  |  | SKIP
288 | CDU | 0 | 30429 | AI | Pump Run Time (CDU1) | Pump Run Time (CDU1) | – |  | – | – |  |  | SKIP
289 | CDU | 0 | 30430 | AI | Delta T (CDU1) | Delta T (CDU1) | – |  | – | – |  |  | SKIP
290 | CDU | 0 | 30436 | AI | CDU Group Setting State (CDU2) | CDU Group Setting State (CDU2) | – |  | – | – |  |  | SKIP
291 | CDU | 0 | 30437 | AI | CDU ID (CDU2) | CDU ID (CDU2) | – |  | – | – |  |  | SKIP
292 | CDU | 0 | 30438 | AI | Operating Status (CDU2) | Operating Status (CDU2) | – |  | – | – |  |  | SKIP
293 | CDU | 0 | 30439 | AI | DP (CDU2) | DP (CDU2) | – |  | – | – |  |  | SKIP
294 | CDU | 0 | 30440 | AI | Sec. Flow (CDU2) | Sec. Flow (CDU2) | – |  | – | – |  |  | SKIP
295 | CDU | 0 | 30441 | AI | Pump Speed (CDU2) | Pump Speed (CDU2) | – |  | – | – |  |  | SKIP
296 | CDU | 0 | 30442 | AI | Sec. Temp (CDU2) | Sec. Temp (CDU2) | – |  | – | – |  |  | SKIP
297 | CDU | 0 | 30443 | AI | CoolValve (CDU2) | CoolValve (CDU2) | – |  | – | – |  |  | SKIP
298 | CDU | 0 | 30444 | AI | Pump Run Time (CDU2) | Pump Run Time (CDU2) | – |  | – | – |  |  | SKIP
299 | CDU | 0 | 30445 | AI | Delta T (CDU2) | Delta T (CDU2) | – |  | – | – |  |  | SKIP
300 | CDU | 0 | 30451 | AI | CDU Group Setting State (CDU3) | CDU Group Setting State (CDU3) | – |  | – | – |  |  | SKIP
301 | CDU | 0 | 30452 | AI | CDU ID (CDU3) | CDU ID (CDU3) | – |  | – | – |  |  | SKIP
302 | CDU | 0 | 30453 | AI | Operating Status (CDU3) | Operating Status (CDU3) | – |  | – | – |  |  | SKIP
303 | CDU | 0 | 30454 | AI | DP (CDU3) | DP (CDU3) | – |  | – | – |  |  | SKIP
304 | CDU | 0 | 30455 | AI | Sec. Flow (CDU3) | Sec. Flow (CDU3) | – |  | – | – |  |  | SKIP
305 | CDU | 0 | 30456 | AI | Pump Speed (CDU3) | Pump Speed (CDU3) | – |  | – | – |  |  | SKIP
306 | CDU | 0 | 30457 | AI | Sec. Temp (CDU3) | Sec. Temp (CDU3) | – |  | – | – |  |  | SKIP
307 | CDU | 0 | 30458 | AI | CoolValve (CDU3) | CoolValve (CDU3) | – |  | – | – |  |  | SKIP
308 | CDU | 0 | 30459 | AI | Pump Run Time (CDU3) | Pump Run Time (CDU3) | – |  | – | – |  |  | SKIP
309 | CDU | 0 | 30460 | AI | Delta T (CDU3) | Delta T (CDU3) | – |  | – | – |  |  | SKIP
310 | CDU | 0 | 30466 | AI | CDU Group Setting State (CDU4) | CDU Group Setting State (CDU4) | – |  | – | – |  |  | SKIP
311 | CDU | 0 | 30467 | AI | CDU ID (CDU4) | CDU ID (CDU4) | – |  | – | – |  |  | SKIP
312 | CDU | 0 | 30468 | AI | Operating Status (CDU4) | Operating Status (CDU4) | – |  | – | – |  |  | SKIP
313 | CDU | 0 | 30469 | AI | DP (CDU4) | DP (CDU4) | – |  | – | – |  |  | SKIP
314 | CDU | 0 | 30470 | AI | Sec. Flow (CDU4) | Sec. Flow (CDU4) | – |  | – | – |  |  | SKIP
315 | CDU | 0 | 30471 | AI | Pump Speed (CDU4) | Pump Speed (CDU4) | – |  | – | – |  |  | SKIP
316 | CDU | 0 | 30472 | AI | Sec. Temp (CDU4) | Sec. Temp (CDU4) | – |  | – | – |  |  | SKIP
317 | CDU | 0 | 30473 | AI | CoolValve (CDU4) | CoolValve (CDU4) | – |  | – | – |  |  | SKIP
318 | CDU | 0 | 30474 | AI | Pump Run Time (CDU4) | Pump Run Time (CDU4) | – |  | – | – |  |  | SKIP
319 | CDU | 0 | 30475 | AI | Delta T (CDU4) | Delta T (CDU4) | – |  | – | – |  |  | SKIP
320 | CDU | 0 | 30481 | AI | CDU Group Setting State (CDU5) | CDU Group Setting State (CDU5) | – |  | – | – |  |  | SKIP
321 | CDU | 0 | 30482 | AI | CDU ID (CDU5) | CDU ID (CDU5) | – |  | – | – |  |  | SKIP
322 | CDU | 0 | 30483 | AI | Operating Status (CDU5) | Operating Status (CDU5) | – |  | – | – |  |  | SKIP
323 | CDU | 0 | 30484 | AI | DP (CDU5) | DP (CDU5) | – |  | – | – |  |  | SKIP
324 | CDU | 0 | 30485 | AI | Sec. Flow (CDU5) | Sec. Flow (CDU5) | – |  | – | – |  |  | SKIP
325 | CDU | 0 | 30486 | AI | Pump Speed (CDU5) | Pump Speed (CDU5) | – |  | – | – |  |  | SKIP
326 | CDU | 0 | 30487 | AI | Sec. Temp (CDU5) | Sec. Temp (CDU5) | – |  | – | – |  |  | SKIP
327 | CDU | 0 | 30488 | AI | CoolValve (CDU5) | CoolValve (CDU5) | – |  | – | – |  |  | SKIP
328 | CDU | 0 | 30489 | AI | Pump Run Time (CDU5) | Pump Run Time (CDU5) | – |  | – | – |  |  | SKIP
329 | CDU | 0 | 30490 | AI | Delta T (CDU5) | Delta T (CDU5) | – |  | – | – |  |  | SKIP
330 | CDU | 0 | 30496 | AI | CDU Group Setting State (CDU6) | CDU Group Setting State (CDU6) | – |  | – | – |  |  | SKIP
331 | CDU | 0 | 30497 | AI | CDU ID (CDU6) | CDU ID (CDU6) | – |  | – | – |  |  | SKIP
332 | CDU | 0 | 30498 | AI | Operating Status (CDU6) | Operating Status (CDU6) | – |  | – | – |  |  | SKIP
333 | CDU | 0 | 30499 | AI | DP (CDU6) | DP (CDU6) | – |  | – | – |  |  | SKIP
334 | CDU | 0 | 30500 | AI | Sec. Flow (CDU6) | Sec. Flow (CDU6) | – |  | – | – |  |  | SKIP
335 | CDU | 0 | 30501 | AI | Pump Speed (CDU6) | Pump Speed (CDU6) | – |  | – | – |  |  | SKIP
336 | CDU | 0 | 30502 | AI | Sec. Temp (CDU6) | Sec. Temp (CDU6) | – |  | – | – |  |  | SKIP
337 | CDU | 0 | 30503 | AI | CoolValve (CDU6) | CoolValve (CDU6) | – |  | – | – |  |  | SKIP
338 | CDU | 0 | 30504 | AI | Pump Run Time (CDU6) | Pump Run Time (CDU6) | – |  | – | – |  |  | SKIP
339 | CDU | 0 | 30505 | AI | Delta T (CDU6) | Delta T (CDU6) | – |  | – | – |  |  | SKIP
340 | CDU | 0 | 30511 | AI | CDU Group Setting State (CDU7) | CDU Group Setting State (CDU7) | – |  | – | – |  |  | SKIP
341 | CDU | 0 | 30512 | AI | CDU ID (CDU7) | CDU ID (CDU7) | – |  | – | – |  |  | SKIP
342 | CDU | 0 | 30513 | AI | Operating Status (CDU7) | Operating Status (CDU7) | – |  | – | – |  |  | SKIP
343 | CDU | 0 | 30514 | AI | DP (CDU7) | DP (CDU7) | – |  | – | – |  |  | SKIP
344 | CDU | 0 | 30515 | AI | Sec. Flow (CDU7) | Sec. Flow (CDU7) | – |  | – | – |  |  | SKIP
345 | CDU | 0 | 30516 | AI | Pump Speed (CDU7) | Pump Speed (CDU7) | – |  | – | – |  |  | SKIP
346 | CDU | 0 | 30517 | AI | Sec. Temp (CDU7) | Sec. Temp (CDU7) | – |  | – | – |  |  | SKIP
347 | CDU | 0 | 30518 | AI | CoolValve (CDU7) | CoolValve (CDU7) | – |  | – | – |  |  | SKIP
348 | CDU | 0 | 30519 | AI | Pump Run Time (CDU7) | Pump Run Time (CDU7) | – |  | – | – |  |  | SKIP
349 | CDU | 0 | 30520 | AI | Delta T (CDU7) | Delta T (CDU7) | – |  | – | – |  |  | SKIP
350 | CDU | 0 | 30526 | AI | CDU Group Setting State (CDU8) | CDU Group Setting State (CDU8) | – |  | – | – |  |  | SKIP
351 | CDU | 0 | 30527 | AI | CDU ID (CDU8) | CDU ID (CDU8) | – |  | – | – |  |  | SKIP
352 | CDU | 0 | 30528 | AI | Operating Status (CDU8) | Operating Status (CDU8) | – |  | – | – |  |  | SKIP
353 | CDU | 0 | 30529 | AI | DP (CDU8) | DP (CDU8) | – |  | – | – |  |  | SKIP
354 | CDU | 0 | 30530 | AI | Sec. Flow (CDU8) | Sec. Flow (CDU8) | – |  | – | – |  |  | SKIP
355 | CDU | 0 | 30531 | AI | Pump Speed (CDU8) | Pump Speed (CDU8) | – |  | – | – |  |  | SKIP
356 | CDU | 0 | 30532 | AI | Sec. Temp (CDU8) | Sec. Temp (CDU8) | – |  | – | – |  |  | SKIP
357 | CDU | 0 | 30533 | AI | CoolValve (CDU8) | CoolValve (CDU8) | – |  | – | – |  |  | SKIP
358 | CDU | 0 | 30534 | AI | Pump Run Time (CDU8) | Pump Run Time (CDU8) | – |  | – | – |  |  | SKIP
359 | CDU | 0 | 30535 | AI | Delta T (CDU8) | Delta T (CDU8) | – |  | – | – |  |  | SKIP
360 | CDU | 0 | 30541 | AI | Heartbeat | Heartbeat | – |  | – | – |  |  | SKIP
361 | CDU | 0 | 30542 | AI | Master CDU ID | Master CDU ID | – |  | – | – |  |  | SKIP
362 | CDU | 0 | 30543 | AI | Number of configured CDUs | Number of configured CDUs | – |  | – | – |  |  | SKIP
363 | CDU | 0 | 30544 | AI | CDU Run/Standby | CDU Run/Standby | – |  | – | – |  |  | SKIP
364 | CDU | 0 | 30545 | AI | Pump speed command | Pump speed command | – |  | – | – |  |  | SKIP
365 | CDU | 0 | 30546 | AI | Slave CDUs maintaining communication (Master) | Slave CDUs maintaining communication (Master) | – |  | – | – |  |  | SKIP
366 | CDU | 0 | 30547 | AI | Master reference running units count | Master reference running units count | – |  | – | – |  |  | SKIP
367 | CDU | 0 | 30551 | AI | Slave received Heartbeat | Slave received Heartbeat | – |  | – | – |  |  | SKIP
368 | CDU | 0 | 30552 | AI | Slave received Master CDU ID | Slave received Master CDU ID | – |  | – | – |  |  | SKIP
369 | CDU | 0 | 30553 | AI | Slave received configured CDU count | Slave received configured CDU count | – |  | – | – |  |  | SKIP
370 | CDU | 0 | 30554 | AI | Slave received CDU Run/Standby | Slave received CDU Run/Standby | – |  | – | – |  |  | SKIP
371 | CDU | 0 | 30555 | AI | Slave received pump speed command | Slave received pump speed command | – |  | – | – |  |  | SKIP
372 | CDU | 0 | 30556 | AI | Slave CDUs maintaining communication (Slave) | Slave CDUs maintaining communication (Slave) | – |  | – | – |  |  | SKIP
373 | CDU | 0 | 30557 | AI | Slave reference running units count | Slave reference running units count | – |  | – | – |  |  | SKIP
374 | CDU | 0 | 30561 | AI | Slave transmit CDU Group Setting State | Slave transmit CDU Group Setting State | – |  | – | – |  |  | SKIP
375 | CDU | 0 | 30562 | AI | Slave transmit CDU ID | Slave transmit CDU ID | – |  | – | – |  |  | SKIP
376 | CDU | 0 | 30563 | AI | Slave transmit operating mode | Slave transmit operating mode | – |  | – | – |  |  | SKIP
377 | CDU | 0 | 30564 | AI | Slave transmit DP | Slave transmit DP | – |  | – | – |  |  | SKIP
378 | CDU | 0 | 30565 | AI | Slave transmit Sec. Flow | Slave transmit Sec. Flow | – |  | – | – |  |  | SKIP
379 | CDU | 0 | 30566 | AI | Slave transmit Pump Speed | Slave transmit Pump Speed | – |  | – | – |  |  | SKIP
380 | CDU | 0 | 30567 | AI | Slave transmit Sec. Temp | Slave transmit Sec. Temp | – |  | – | – |  |  | SKIP
381 | CDU | 0 | 30568 | AI | CoolValve | CoolValve | – |  | – | – |  |  | SKIP
382 | CDU | 0 | 30569 | AI | Slave transmit Pump Run Time | Slave transmit Pump Run Time | – |  | – | – |  |  | SKIP
383 | CDU | 0 | 30570 | AI | Slave transmit Delta T | Slave transmit Delta T | – |  | – | – |  |  | SKIP
384 | CDU | 0 | 30601 | AI | PT Prim. Inlet Temp T1Ia | PT Prim. Inlet Temp T1Ia | – |  | – | – |  |  | SKIP
385 | CDU | 0 | 30602 | AI | PT Prim. Outlet Temp T1Oa | PT Prim. Outlet Temp T1Oa | – |  | – | – |  |  | SKIP
386 | CDU | 0 | 30603 | AI | PT Sec. Inlet Temp T2Ia | PT Sec. Inlet Temp T2Ia | – |  | – | – |  |  | SKIP
387 | CDU | 0 | 30604 | AI | PT Sec. Outlet Temp T2Oa | PT Sec. Outlet Temp T2Oa | – |  | – | – |  |  | SKIP
388 | CDU | 0 | 30605 | AI | PT Sec. Outlet Temp T2Ob | PT Sec. Outlet Temp T2Ob | – |  | – | – |  |  | SKIP
389 | CDU | 0 | 30606 | AI | PT Sec. Outlet Temp T2Oc | PT Sec. Outlet Temp T2Oc | – |  | – | – |  |  | SKIP
390 | CDU | 0 | 30607 | AI | PT Sec. Inlet Temp T2Ia | PT Sec. Inlet Temp T2Ia | – |  | – | – |  |  | SKIP
391 | CDU | 0 | 30641 | AI | AI Sec. Inlet Press P2Ia | AI Sec. Inlet Press P2Ia | – |  | – | – |  |  | SKIP
392 | CDU | 0 | 30642 | AI | AI Sec. Inlet Press P2Ib | AI Sec. Inlet Press P2Ib | – |  | – | – |  |  | SKIP
393 | CDU | 0 | 30643 | AI | AI Sec. Outlet Press P2Oa | AI Sec. Outlet Press P2Oa | – |  | – | – |  |  | SKIP
394 | CDU | 0 | 30644 | AI | AI Prim. Filter Inlet Press P1Ia | AI Prim. Filter Inlet Press P1Ia | – |  | – | – |  |  | SKIP
395 | CDU | 0 | 30645 | AI | AI Prim. Filter Outlet Press P1f1 | AI Prim. Filter Outlet Press P1f1 | – |  | – | – |  |  | SKIP
396 | CDU | 0 | 30646 | AI | AI Sec. Filter1 Inlet Press P2f1 | AI Sec. Filter1 Inlet Press P2f1 | – |  | – | – |  |  | SKIP
397 | CDU | 0 | 30647 | AI | AI Sec. Filter1 Inlet Press P2f2 | AI Sec. Filter1 Inlet Press P2f2 | – |  | – | – |  |  | SKIP
398 | CDU | 0 | 30648 | AI | AI Prim. Flow F1 | AI Prim. Flow F1 | – |  | – | – |  |  | SKIP
399 | CDU | 0 | 30649 | AI | AI Sec. Flow F2 | AI Sec. Flow F2 | – |  | – | – |  |  | SKIP
400 | CDU | 0 | 30650 | AI | AI Room RH Rha | AI Room RH Rha | – |  | – | – |  |  | SKIP
401 | CDU | 0 | 30651 | AI | AI Room RH Rhb | AI Room RH Rhb | – |  | – | – |  |  | SKIP
402 | CDU | 0 | 30652 | AI | AI CoolingValve Feedback | AI CoolingValve Feedback | – |  | – | – |  |  | SKIP
403 | CDU | 0 | 30653 | AI | AI BypassValve Feedback | AI BypassValve Feedback | – |  | – | – |  |  | SKIP
404 | CDU | 0 | 30654 | AI | AI indoor temperature T3a | AI indoor temperature T3a | – |  | – | – |  |  | SKIP
405 | CDU | 0 | 30655 | AI | AI indoor temperature T3b | AI indoor temperature T3b | – |  | – | – |  |  | SKIP
406 | CDU | 0 | 30656 | AI | AI Prim. Inlet Temp T1Ia | AI Prim. Inlet Temp T1Ia | – |  | – | – |  |  | SKIP
407 | CDU | 0 | 30657 | AI | AI Prim. Outlet Temp T1Oa | AI Prim. Outlet Temp T1Oa | – |  | – | – |  |  | SKIP
408 | CDU | 0 | 30658 | AI | AI Sec. Inlet Temp T2Ia | AI Sec. Inlet Temp T2Ia | – |  | – | – |  |  | SKIP
409 | CDU | 0 | 30659 | AI | AI Sec. Outlet Temp T2Oa | AI Sec. Outlet Temp T2Oa | – |  | – | – |  |  | SKIP
410 | CDU | 0 | 30660 | AI | AI Sec. Outlet Temp T2Ob | AI Sec. Outlet Temp T2Ob | – |  | – | – |  |  | SKIP
411 | CDU | 0 | 30661 | AI | AI Sec. Outlet Temp T2Oc | AI Sec. Outlet Temp T2Oc | – |  | – | – |  |  | SKIP
412 | CDU | 0 | 30662 | AI | AI leak sensor 1 | AI leak sensor 1 | – |  | – | – |  |  | SKIP
413 | CDU | 0 | 30663 | AI | AI leak sensor 2 | AI leak sensor 2 | – |  | – | – |  |  | SKIP
414 | CDU | 0 | 30664 | AI | AI Sec. Filter3 Inlet Press P2f3 | AI Sec. Filter3 Inlet Press P2f3 | – |  | – | – |  |  | SKIP
415 | CDU | 0 | 30665 | AI | AI Sec. Outlet Press P2Ob | AI Sec. Outlet Press P2Ob | – |  | – | – |  |  | SKIP
416 | CDU | 0 | 30666 | AI | AI Prim. Outlet Press P1Oa | AI Prim. Outlet Press P1Oa | – |  | – | – |  |  | SKIP
417 | CDU | 0 | 30667 | AI | AI Sec. Suction Press P2Sa | AI Sec. Suction Press P2Sa | – |  | – | – |  |  | SKIP
418 | CDU | 0 | 30668 | AI | AI Sec. Inlet Temp T2Ib | AI Sec. Inlet Temp T2Ib | – |  | – | – |  |  | SKIP
419 | CDU | 0 | 30681 | AI | AO Cooling Valve | AO Cooling Valve | – |  | – | – |  |  | SKIP
420 | CDU | 0 | 30682 | AI | AO CoolingBypass Valve | AO CoolingBypass Valve | – |  | – | – |  |  | SKIP
421 | CDU | 0 | 40001 | AO | Remote Oper. | Remote Oper. | – |  | PASS | – |  |  | PASS
422 | CDU | 0 | 40002 | AO | Alarm All Reset | Alarm All Reset | – |  | PASS | – |  |  | PASS
423 | CDU | 0 | 40051 | AO | Fill Press | Fill Press | – |  | PASS | – |  |  | PASS
424 | CDU | 0 | 40052 | AO | Fill Hys. | Fill Hys. | – |  | PASS | – |  |  | PASS
425 | CDU | 0 | 40053 | AO | Fill Pump Run Period | Fill Pump Run Period | – |  | PASS | – |  |  | PASS
426 | CDU | 0 | 40054 | AO | Level Sensor Delay | Level Sensor Delay | – |  | PASS | – |  |  | PASS
427 | CDU | 0 | 40071 | AO | Ctrl. Type | Ctrl. Type | – |  | PASS | – |  |  | PASS
428 | CDU | 0 | 40072 | AO | Flow Setpoint | Flow Setpoint | – |  | PASS | – |  |  | PASS
429 | CDU | 0 | 40073 | AO | DP Setpoint | DP Setpoint | – |  | PASS | – |  |  | PASS
430 | CDU | 0 | 40074 | AO | Low Flow | Low Flow | – |  | PASS | – |  |  | PASS
431 | CDU | 0 | 40075 | AO | Low DP | Low DP | – |  | PASS | – |  |  | PASS
432 | CDU | 0 | 40076 | AO | Low Flow - DP Delay | Low Flow - DP Delay | – |  | PASS | – |  |  | PASS
433 | CDU | 0 | 40077 | AO | Diff Temp Setpoint | Diff Temp Setpoint | – |  | PASS | – |  |  | PASS
434 | CDU | 0 | 40078 | AO | High Diff Delta Temp | High Diff Delta Temp | – |  | PASS | – |  |  | PASS
435 | CDU | 0 | 40079 | AO | Constant Pump Setpoint | Constant Pump Setpoint | – |  | PASS | – |  |  | PASS
436 | CDU | 0 | 40091 | AO | Total Pump Ctrl. | Total Pump Ctrl. | – |  | PASS | – |  |  | PASS
437 | CDU | 0 | 40092 | AO | Min Pump Speed | Min Pump Speed | – |  | PASS | – |  |  | PASS
438 | CDU | 0 | 40093 | AO | Max Pump Speed | Max Pump Speed | – |  | PASS | – |  |  | PASS
439 | CDU | 0 | 40094 | AO | Total Max Pump Speed | Total Max Pump Speed | – |  | PASS | – |  |  | PASS
440 | CDU | 0 | 40095 | AO | Max Ctrl. Press | Max Ctrl. Press | – |  | PASS | – |  |  | PASS
441 | CDU | 0 | 40096 | AO | Pump Changeover Delay | Pump Changeover Delay | – |  | PASS | – |  |  | PASS
442 | CDU | 0 | 40097 | AO | Over Press Setpoint | Over Press Setpoint | – |  | PASS | – |  |  | PASS
443 | CDU | 0 | 40098 | AO | Over Press Action | Over Press Action | – |  | PASS | – |  |  | PASS
444 | CDU | 0 | 40099 | AO | Startup Speed | Startup Speed | – |  | PASS | – |  |  | PASS
445 | CDU | 0 | 40100 | AO | Startup Period | Startup Period | – |  | PASS | – |  |  | PASS
446 | CDU | 0 | 40101 | AO | Loop Refresh Period | Loop Refresh Period | – |  | PASS | – |  |  | PASS
447 | CDU | 0 | 40103 | AO | Fault Reset Attempts | Fault Reset Attempts | – |  | PASS | – |  |  | PASS
448 | CDU | 0 | 40104 | AO | Fault Reset Period | Fault Reset Period | – |  | PASS | – |  |  | PASS
449 | CDU | 0 | 40121 | AO | Temp Setpoint | Temp Setpoint | – |  | PASS | – |  |  | PASS
450 | CDU | 0 | 40122 | AO | Control Mode | Control Mode | – |  | PASS | – |  |  | PASS
451 | CDU | 0 | 40123 | AO | Dewpoint Offset | Dewpoint Offset | – |  | PASS | – |  |  | PASS
452 | CDU | 0 | 40124 | AO | Sec. Low Temp Diff. | Sec. Low Temp Diff. | – |  | PASS | – |  |  | PASS
453 | CDU | 0 | 40125 | AO | Sec. High Temp Diff. | Sec. High Temp Diff. | – |  | PASS | – |  |  | PASS
454 | CDU | 0 | 40126 | AO | Sec. Temp Reset Hys. | Sec. Temp Reset Hys. | – |  | PASS | – |  |  | PASS
455 | CDU | 0 | 40127 | AO | PID Control Period | PID Control Period | – |  | PASS | – |  |  | PASS
456 | CDU | 0 | 40128 | AO | PID Proportional Band | PID Proportional Band | – |  | PASS | – |  |  | PASS
457 | CDU | 0 | 40129 | AO | PID Integral Reset | PID Integral Reset | – |  | PASS | – |  |  | PASS
458 | CDU | 0 | 40130 | AO | PID Derivative | PID Derivative | – |  | PASS | – |  |  | PASS
459 | CDU | 0 | 40131 | AO | Demand/Actual Error | Demand/Actual Error | – |  | PASS | – |  |  | PASS
460 | CDU | 0 | 40132 | AO | Valve Check Period | Valve Check Period | – |  | PASS | – |  |  | PASS
461 | CDU | 0 | 40133 | AO | Min Position | Min Position | – |  | PASS | – |  |  | PASS
462 | CDU | 0 | 40134 | AO | Sec. Inlet High Temp Set | Sec. Inlet High Temp Set | – |  | PASS | – |  |  | PASS
463 | CDU | 0 | 40151 | AO | Prim. Flow Delay | Prim. Flow Delay | – |  | PASS | – |  |  | PASS
464 | CDU | 0 | 40152 | AO | Prim. Low Temp Setpoint | Prim. Low Temp Setpoint | – |  | PASS | – |  |  | PASS
465 | CDU | 0 | 40153 | AO | Prim. High Temp Setpoint | Prim. High Temp Setpoint | – |  | PASS | – |  |  | PASS
466 | CDU | 0 | 40154 | AO | Prim. Temp Reset Hys. | Prim. Temp Reset Hys. | – |  | PASS | – |  |  | PASS
467 | CDU | 0 | 40155 | AO | Prim. Over Press Setpoint | Prim. Over Press Setpoint | – |  | PASS | – |  |  | PASS
468 | CDU | 0 | 40171 | AO | Sec. T2O Temp Diff | Sec. T2O Temp Diff | – |  | PASS | – |  |  | PASS
469 | CDU | 0 | 40172 | AO | Sec. T2O Period | Sec. T2O Period | – |  | PASS | – |  |  | PASS
470 | CDU | 0 | 40173 | AO | Sec. P2I Press Diff | Sec. P2I Press Diff | – |  | PASS | – |  |  | PASS
471 | CDU | 0 | 40174 | AO | Sec. P2I Period | Sec. P2I Period | – |  | PASS | – |  |  | PASS
472 | CDU | 0 | 40191 | AO | Prim. Filter Dirty Setpoint | Prim. Filter Dirty Setpoint | – |  | PASS | – |  |  | PASS
473 | CDU | 0 | 40192 | AO | Prim. Filter Dirty Hys. | Prim. Filter Dirty Hys. | – |  | PASS | – |  |  | PASS
474 | CDU | 0 | 40193 | AO | Prim. Filter Dirty Delay Period | Prim. Filter Dirty Delay Period | – |  | PASS | – |  |  | PASS
475 | CDU | 0 | 40194 | AO | Sec. Filter Dirty Setpoint | Sec. Filter Dirty Setpoint | – |  | PASS | – |  |  | PASS
476 | CDU | 0 | 40195 | AO | Sec. Filter Dirty Hys. | Sec. Filter Dirty Hys. | – |  | PASS | – |  |  | PASS
477 | CDU | 0 | 40196 | AO | Sec. Filter Dirty Delay Period | Sec. Filter Dirty Delay Period | – |  | PASS | – |  |  | PASS
478 | CDU | 0 | 40211 | AO | Leak Detection - Flood Tray | Leak Detection - Flood Tray | – |  | PASS | – |  |  | PASS
479 | CDU | 0 | 40212 | AO | Leak Detection - Underfloor | Leak Detection - Underfloor | – |  | PASS | – |  |  | PASS
480 | CDU | 0 | 40213 | AO | Underfloor Delay Period | Underfloor Delay Period | – |  | PASS | – |  |  | PASS
481 | CDU | 0 | 40221 | AO | Pump Changeover Freq. | Pump Changeover Freq. | – |  | PASS | – |  |  | PASS
482 | CDU | 0 | 40241 | AO | Sec. Loop Coolant Type | Sec. Loop Coolant Type | – |  | PASS | – |  |  | PASS
483 | CDU | 0 | 40242 | AO | Prim. Loop Coolant Type | Prim. Loop Coolant Type | – |  | PASS | – |  |  | PASS
484 | CDU | 0 | 40251 | AO | Unit Address | Unit Address | – |  | PASS | – |  |  | PASS
485 | CDU | 0 | 40252 | AO | Number of Units in Group | Number of Units in Group | – |  | PASS | – |  |  | PASS
486 | CDU | 0 | 40253 | AO | Number of Run Units | Number of Run Units | – |  | PASS | – |  |  | PASS
487 | CDU | 0 | 40254 | AO | Rotation Freq. | Rotation Freq. | – |  | PASS | – |  |  | PASS
488 | CDU | 0 | 40255 | AO | Rotation Day of Week | Rotation Day of Week | – |  | PASS | – |  |  | PASS
489 | CDU | 0 | 40256 | AO | Rotation Time - Hours | Rotation Time - Hours | – |  | PASS | – |  |  | PASS
490 | CDU | 0 | 40257 | AO | Rotation Time - Minutes | Rotation Time - Minutes | – |  | PASS | – |  |  | PASS
491 | CDU | 0 | 40271 | AO | Alarm Delay | Alarm Delay | – |  | PASS | – |  |  | PASS
492 | CDU | 0 | 40274 | AO | Data Logging Interval | Data Logging Interval | – |  | PASS | – |  |  | PASS

## 요약
BTL 검증 요약
항목 | 건수 | 비율
PASS ✅ | 72 | 14.6%
FAIL ❌ | 0 | 0.0%
SKIP ⏭ | 420 | 85.4%
합 계 | 492 | 100%